## projects
utility_id | project_id | project_name | project_type | name_a | name_b | lat_a | lon_a | lat_b | lon_b | lat_center | lon_center | in_service_date | location_confidence | source_kind | overlap_count | overlap_1 | overlap_2 | overlap_3 | overlap_4 | overlap_5 | overlap_6 | overlap_7 | overlap_8 | overlap_9 | overlap_10 | overlap_11 | overlap_12 | overlap_13 | overlap_14 | overlap_15
DESC | 0139 M,N | Okatie 230-115kV Substation, Jasper – Yemassee 230kV #1 Fold-in | substation | Okatie |  | 32.2776 | -80.9686 |  |  | 32.2776 | -80.9686 | 2024-12-31 | low | official | 12 | OVL_8 | OVL_24 | OVL_36 | OVL_37 | OVL_39 | OVL_49 | OVL_70 | OVL_71 | OVL_72 | OVL_89 | OVL_91 | OVL_105
DESC | 0147 B, J | Jack Primus 115 kV Tap: Construct | new_line | Jack Primus | Clements Ferry | 32.9194 | -79.9045 |  |  | 32.9194 | -79.9045 | 2027-12-31 | low | official | 0
DESC | 0147 C, K | Cainhoy 115 kV Tap: Construct | new_line | Cainhoy | Clements Ferry | 32.9414 | -79.8423 |  |  | 32.9414 | -79.8423 | 2027-12-31 | low | official | 0
DESC | 02726 K | Columbia Canal 115 kV: Rebuild | line_rebuild | Columbia Canal |  | 33.9972 | -81.0493 |  |  | 33.9972 | -81.0493 | 2026-05-31 | high | official | 0
DESC | 06005 B | Harleyville 115KV Transmission Tap – Construct (1.4 miles) | new_line | Harleyville |  | 33.2099 | -80.4512 |  |  | 33.2099 | -80.4512 | 2027-03-31 | low | official | 0
DESC | 06076A | Canadys-Ritter 115KV-Rebld SPDC 230/115KV 1272 (Approx 18 Miles) | line_rebuild | Canadys | Ritter | 33.0641 | -80.6206 |  |  | 33.0641 | -80.6206 | 2026-06-01 | low | official | 0
DESC | 06367 A - C, H | Riverport Tap: Construct Tap | new_line | Okatie | Riverport | 32.2776 | -80.9686 |  |  | 32.2776 | -80.9686 | 2025-12-31 | low | official | 12 | OVL_4 | OVL_22 | OVL_23 | OVL_25 | OVL_27 | OVL_61 | OVL_62 | OVL_64 | OVL_73 | OVL_90 | OVL_92 | OVL_104
DESC | 06367 D - G | Jasper – Okatie 230 kV #2: Construct | new_line | Jasper | Okatie | 32.3591 | -81.1246 | 32.2776 | -80.9686 | 32.3183 | -81.0466 | 2025-12-31 | low | official | 15 | OVL_1 | OVL_7 | OVL_18 | OVL_32 | OVL_33 | OVL_47 | OVL_50 | OVL_54 | OVL_57 | OVL_66 | OVL_75 | OVL_78 | OVL_86 | OVL_93 | OVL_103
DESC | 06371 D | Wagener 115kV Tap: Construct Tap | new_line | Wagener |  | 33.6501 | -81.3606 |  |  | 33.6501 | -81.3606 | 2025-12-31 | high | official | 0
DESC | 06372 A | Church Creek - Ritter 230kV - Replace 38 Large Angles and Dead Ends | line_rebuild | Church Creek | Ritter | 32.8303 | -80.0703 |  |  | 32.8303 | -80.0703 | 2024-06-01 | low | official | 0
DESC | 06810 F | VCS2-Ward 230kV: Rebuild Line | line_rebuild | Ward |  | 33.8722 | -81.6977 |  |  | 33.8722 | -81.6977 | 2029-12-31 | low | official | 0
DESC | 1060A, I, L | Williams St Sub: Replace Sw House & Relays, AM Williams Sub: Replace Sw House, and McMeekin Sub: Add Sw House | substation | Williams St |  | 35.0491 | -78.8864 |  |  | 35.0491 | -78.8864 | 2028-12-31 | medium | official | 0
DESC | 6238 H | Fairfax-Yemassee 115kV: Upgrade for DESCSQ #1151 Interconnection | line_rebuild | Fairfax | Yemassee | 32.9544 | -81.2319 | 32.6974 | -80.8638 | 32.8259 | -81.0478 | 2027-09-07 | medium | official | 0
DESC | 6341 A-F | Cainhoy - Hamlin 115kV: Rebuild Line and Cainhoy – Hamlin 115 kV #2: Construct New 115 kV Line | new_line | Cainhoy | Hamlin | 32.9414 | -79.8423 | 32.8599 | -79.7884 | 32.9007 | -79.8154 | 2025-12-01 | high | official | 0
DESC | 6359 | Yemassee– Ritter 230kV #1 & #2: Construct SPDC with B-1272 | new_line | Yemassee | Ritter | 32.6974 | -80.8638 |  |  | 32.6974 | -80.8638 | 2026-06-01 | low | official | 0
DESC | 6388 A | Williams-Summerville 230kV: Upgrade to SPDC B1272 ACSR | line_rebuild | Williams | Summerville | 33.0177 | -79.9322 |  |  | 33.0177 | -79.9322 | 2027-05-01 | low | official | 0
DESC | 6805 G | Edenwood Sub: #1 & #2 230-115kV Autobanks, Replace with 336MVA | substation | Edenwood |  | 34.1387 | -79.8267 |  |  | 34.1387 | -79.8267 | 2024-12-25 | medium | official | 0
DESC | 6807 B | Queensboro - Ft Johnson 115 kV & Queensboro-Bayfront 115kV (Queensboro-James Island Sect) | line_rebuild | Queensboro | Ft Johnson | 32.7234 | -79.9734 |  |  | 32.7234 | -79.9734 | 2023-12-31 | low | official | 0
DESC | 6808 K | Burton-St Helena 115kV: Rebuild Burton-Frogmore Transmission Section | line_rebuild | Burton | St Helena | 32.4365 | -80.721 |  |  | 32.4365 | -80.721 | 2024-12-31 | low | official | 1 | OVL_63
DESC | 6808 L | Burton-St Helena 115kV: Frogmore Distribution - St Helena | line_rebuild | Burton | St Helena | 32.4365 | -80.721 |  |  | 32.4365 | -80.721 | 2025-12-31 | low | official | 1 | OVL_48
DESC | 6808 N,O | VCS1-Denny Terrace 230kV & VCS1-Pineland 230kV: Rebuild Single Circuit Sections | line_rebuild | Denny Terrace |  | 34.0576 | -81.0616 | 32.6119 | -81.1503 | 33.3348 | -81.1059 | 2026-12-31 | low | official | 0
DESC | 6808 P | Wateree-Hopkins 230kV Line #1: Rebuild | line_rebuild | Wateree | Hopkins | 33.8213 | -80.6284 |  |  | 33.8213 | -80.6284 | 2027-12-31 | low | official | 0
DESC | 6808 R | Wateree-Killian 230kV: Rebuild | line_rebuild | Wateree | Killian | 33.8213 | -80.6284 |  |  | 33.8213 | -80.6284 | 2028-12-31 | low | official | 0
DESC | 6808 S | Okatie-Bluffton 115kV: Rebuild | line_rebuild | Okatie | Bluffton | 32.2776 | -80.9686 | 32.235 | -80.8534 | 32.2563 | -80.911 | 2025-06-01 | low | official | 10 | OVL_17 | OVL_19 | OVL_35 | OVL_41 | OVL_43 | OVL_74 | OVL_76 | OVL_81 | OVL_97 | OVL_102
DESC | 6808 V | Faber Place-Bayfront 115kV: Rebuild North Bridge Terrace to Bayfront Section | line_rebuild | Faber Place | Bayfront | 32.8501 | -80.0146 |  |  | 32.8501 | -80.0146 | 2028-12-31 | low | official | 0
DESC | 6809 E | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV Rebuilds | line_rebuild | Stevens Creek | Hooks | 33.5626 | -82.0514 | 33.6568 | -82.1595 | 33.6097 | -82.1054 | 2024-12-31 | low | official | 6 | OVL_13 | OVL_14 | OVL_28 | OVL_45 | OVL_83 | OVL_85
DESC | 6809 F | Orangeburg #1 - Cameron Jct 46kV Line Rebuild | line_rebuild | Orangeburg | Cameron Jct | 33.4595 | -80.8889 | 33.5637 | -80.709 | 33.5116 | -80.799 | 2028-12-31 | high | official | 0
DESC | 6809 G | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV | line_rebuild | Stevens Creek | Hooks | 33.5626 | -82.0514 | 33.6568 | -82.1595 | 33.6097 | -82.1054 | 2025-12-31 | low | official | 6 | OVL_11 | OVL_12 | OVL_15 | OVL_44 | OVL_82 | OVL_84
DESC | 6809 G (Hooks Modoc) | Hooks - Modoc 115/46 kV Rebuild | line_rebuild | Hooks | Modoc | 33.6568 | -82.1595 | 33.7363 | -82.2015 | 33.6966 | -82.1805 | 2027-12-31 | medium | official | 5 | OVL_20 | OVL_21 | OVL_53 | OVL_59 | OVL_87
DESC | 6809 I2 | Adams Run – Red House Road 46 kV: Replace Dawhoo River Crossing and other Structures | line_rebuild | Adams Run | Red House Road | 32.7153 | -80.3539 |  |  | 32.7153 | -80.3539 | 2027-12-31 | low | official | 0
DESC | 6809 M | St George - Sumter 230kV Tie: Rebuild Line from Santee Substation - Duke/Progress Energy Tie | line_rebuild | St George | Sumter | 33.1994 | -80.592 | 33.8977 | -80.324 | 33.5485 | -80.458 | 2025-12-31 | high | official | 0
DESC | 6809 M (Modoc Mccormick) | Modoc – McCormick 115/46 kV Rebuild | line_rebuild | Modoc | Mccormick | 33.7363 | -82.2015 | 33.9065 | -82.2928 | 33.8214 | -82.2472 | 2029-12-31 | high | official | 3 | OVL_55 | OVL_56 | OVL_96
DESC | 6809 N | Batesburg - Saluda County 115kV: Rebuild | line_rebuild | Batesburg | Saluda County | 33.9135 | -81.5644 |  |  | 33.9135 | -81.5644 | 2025-12-31 | low | official | 0
DESC | 6809 R | CAE Industrial Park - Springdale Sub 115kV: Replace Laminated Wood Polls. | line_rebuild | Cae Industrial Park | Springdale | 33.9622 | -81.1349 | 33.982 | -81.1178 | 33.9721 | -81.1263 | 2028-12-31 | medium | official | 0
DESC | 6809 T | Stevens Creek - Graniteville 115 kV: Rebuild | line_rebuild | Stevens Creek | Graniteville | 33.5626 | -82.0514 | 33.5834 | -81.8045 | 33.573 | -81.9279 | 2029-12-31 | high | official | 5 | OVL_30 | OVL_31 | OVL_51 | OVL_52 | OVL_88
DESC | 6810 A | Hooks - Thurmond 115kV Tie: Rebuild | line_rebuild | Hooks | Thurmond | 33.6568 | -82.1595 | 33.6601 | -82.1959 | 33.6585 | -82.1777 | 2024-12-31 | medium | official | 5 | OVL_9 | OVL_10 | OVL_42 | OVL_46 | OVL_77
DESC | 6810 J | Elloree – Santee City 46 kV: Rebuild | line_rebuild | Elloree | Santee City | 33.5324 | -80.5797 |  |  | 33.5324 | -80.5797 | 2027-12-31 | low | official | 0
DESC | 6810 N | Calhoun County - North 46 kV Rebuild | line_rebuild | North |  | 33.6099 | -81.0898 |  |  | 33.6099 | -81.0898 | 2029-12-31 | low | official | 0
DESC | 6810 O | Urquhart – Aiken PSA 46 kV: Rebuild | line_rebuild | Urquhart | Aiken Psa | 33.4334 | -81.9092 | 33.4732 | -81.9128 | 33.4533 | -81.911 | 2027-12-31 | medium | official | 5 | OVL_2 | OVL_26 | OVL_68 | OVL_69 | OVL_94
DESC | 6810 T | Cameron Jct – Cameron – St Matthews 46 kV Rebuild | line_rebuild | Cameron Jct | Cameron | 33.5637 | -80.709 | 33.5637 | -80.709 | 33.6249 | -80.735 | 2028-12-31 | medium | official | 0
DESC | 6810 U | Cameron Jct – Elloree 46 kV Rebuild | line_rebuild | Cameron Jct | Elloree | 33.5637 | -80.709 | 33.5324 | -80.5797 | 33.548 | -80.6444 | 2026-12-31 | high | official | 0
DESC | 6846 A | Eastover – Sumter 115kV DEP Tie: Rebuild with 1272 ACSR | line_rebuild | Sumter |  | 33.8977 | -80.324 |  |  | 33.8977 | -80.324 | 2026-05-31 | low | official | 0
DESC | 6847 A-B, D-H | Church Creek – Faber Place – Charleston Transmission: Add 230kV Line | new_line | Church Creek | Faber Place | 32.8303 | -80.0703 | 32.8501 | -80.0146 | 32.8402 | -80.0425 | 2027-05-01 | low | official | 0
DESC | 6852 | Urquhart – Toolebeck 115kV line: Rebuild | line_rebuild | Urquhart | Toolebeck | 33.4334 | -81.9092 | 33.5346 | -81.6693 | 33.484 | -81.7893 | 2026-08-12 | high | official | 4 | OVL_3 | OVL_58 | OVL_100 | OVL_101
DESC | 6869 D | Long Savannah 115 kV Tap: Construct | new_line | Church Creek |  | 32.8303 | -80.0703 |  |  | 32.8303 | -80.0703 | 2029-12-31 | low | official | 0
DESC | 6870 A | Saluda Hydro – Bush River 115kV #1 and #2 Tie Lines Rebuild | line_rebuild | Saluda Hydro | Bush River | 34.0534 | -81.2168 |  |  | 34.0534 | -81.2168 | 2026-12-31 | low | official | 0
DESC | 6877 A | Church Creek – Dawson 230 kV: Rebuild from Long Savannah to Dawson | line_rebuild | Church Creek | Dawson | 32.8303 | -80.0703 |  |  | 32.8303 | -80.0703 | 2029-12-31 | low | official | 0
DESC | 6888 | Okatie – McIntosh 115kV Tie: Add Series Reactor | substation | Okatie | Mcintosh | 32.2776 | -80.9686 | 32.3521 | -81.1751 | 32.3148 | -81.0719 | 2028-12-31 | low | official | 15 | OVL_5 | OVL_6 | OVL_16 | OVL_29 | OVL_34 | OVL_38 | OVL_40 | OVL_60 | OVL_65 | OVL_67 | OVL_79 | OVL_80 | OVL_95 | OVL_98 | OVL_99
GPC | 14222 | THOMSON PRIMARY 230/115KV SECOND TRANSFORMER | substation | Thomson Primary |  | 33.454 | -82.4142 |  |  | 33.454 | -82.4142 | 2033-06-01 | medium | official | 4 | OVL_77 | OVL_82 | OVL_83 | OVL_87
GPC | 16007 | FENWICK STREET - SAND BAR FERRY 115KV (RECONDUCTOR/REBUILD) | line_rebuild | Fenwick Street | Sand Bar Ferry | 33.4608 | -81.9647 | 33.4425 | -81.935 | 33.4516 | -81.9499 | 2026-06-01 | low | official | 7 | OVL_2 | OVL_3 | OVL_15 | OVL_28 | OVL_30 | OVL_46 | OVL_59
GPC | 17075 | SAV: LITTLE OGEECHEE 230- 115KV: RELAY MODERNIZATION | substation | Little Ogeechee |  | 32.0068 | -81.2532 |  |  | 32.0068 | -81.2532 | 2025-12-31 | high | official | 2 | OVL_47 | OVL_98
GPC | 17993 | EVANS PRIMARY - THOMSON PRIMARY 115KV REBUILD | line_rebuild | Evans Primary | Thomson Primary | 33.544 | -82.1686 | 33.454 | -82.4142 | 33.499 | -82.2914 | 2034-12-31 | medium | official | 7 | OVL_42 | OVL_44 | OVL_45 | OVL_53 | OVL_88 | OVL_94 | OVL_96
GPC | 19523 | SAV: CC - HYUNDAI MOTORS SAVANNAH AKA. PROJECT EA | substation | Meldrim |  | 32.1553 | -81.3684 |  |  | 32.1553 | -81.3684 | 2025-01-01 | low | official | 4 | OVL_49 | OVL_50 | OVL_64 | OVL_80
GPC | 19966 | SAV: CC - BIG OGEECHEE 500/230KV (CC NETWORK IMPROVEMENTS) | area_package | Little Ogeechee |  | 32.0068 | -81.2532 |  |  | 32.0068 | -81.2532 | 2026-06-01 | low | official | 2 | OVL_54 | OVL_95
GPC | 19996 | GOLDENS CREEK - WARRENTON PRIMARY 230KV REBUILD | line_rebuild | Warrenton Primary |  | 33.3805 | -82.6873 |  |  | 33.3805 | -82.6873 | 2030-06-01 | low | official | 0
GPC | 20065 | SAV: GOSHEN (SAV) - MCINTOSH 115KV LINE REBUILD | line_rebuild | Goshen (SAV) | Mcintosh | 32.2487 | -81.2095 | 32.3521 | -81.1751 | 32.3004 | -81.1923 | 2027-06-01 | high | official | 5 | OVL_6 | OVL_7 | OVL_22 | OVL_36 | OVL_43
GPC | 20066 | SAV: BOULEVARD - DEPTFORD 115KV RECONDUCTOR | line_rebuild | Boulevard | Deptford | 32.0412 | -81.1445 | 32.0668 | -81.0484 | 32.054 | -81.0964 | 2026-06-01 | high | official | 5 | OVL_25 | OVL_32 | OVL_35 | OVL_39 | OVL_60
GPC | 20067 | SAV: DEPTFORD - MAGNOLIA 115KV RECONDUCTOR | line_rebuild | Deptford | Magnolia | 32.0668 | -81.0484 | 32.0227 | -81.0862 | 32.0448 | -81.0673 | 2025-06-01 | high | official | 5 | OVL_19 | OVL_24 | OVL_27 | OVL_33 | OVL_67
GPC | 20277 | SAV: MCINTOSH - PURRYSBURG 230KV REACTORS | substation | Mcintosh | Purrysburg | 32.3521 | -81.1751 | 32.3358 | -81.0314 | 32.344 | -81.1033 | 2026-06-01 | low | official | 7 | OVL_1 | OVL_4 | OVL_5 | OVL_8 | OVL_17 | OVL_48 | OVL_63
GPC | 20407 | SAV: MAGNOLIA - TRUMAN PARKWAY 115KV REBUILD | line_rebuild | Magnolia | Truman Parkway | 32.0227 | -81.0862 |  |  | 32.0227 | -81.0862 | 2028-06-01 | low | official | 5 | OVL_40 | OVL_62 | OVL_66 | OVL_71 | OVL_74
GPC | 20756 | HATCH - WADLEY 500 KV LINE STRATEGIC PROJECT | new_line | Wadley |  | 32.8847 | -82.4159 |  |  | 32.8847 | -82.4159 | 2031-06-01 | low | official | 0
GPC | 20783 | SAV: COLEMAN - DEAN FOREST 115KV LINE REBUILD | line_rebuild | Coleman | Dean Forest | 32.1077 | -81.2269 | 32.0835 | -81.1887 | 32.0956 | -81.2078 | 2028-06-01 | medium | official | 5 | OVL_29 | OVL_57 | OVL_61 | OVL_70 | OVL_81
GPC | 20784 | SAV: COLEMAN - MELDRIM 115KV LINE REBUILD | line_rebuild | Coleman | Meldrim | 32.1077 | -81.2269 | 32.1553 | -81.3684 | 32.1315 | -81.2976 | 2032-06-01 | medium | official | 5 | OVL_65 | OVL_75 | OVL_89 | OVL_90 | OVL_102
GPC | 20785 | SAV: GOSHEN (SAV) - KRAFT 115KV LINE REBUILD | line_rebuild | Goshen (SAV) | Kraft | 32.2487 | -81.2095 | 32.1481 | -81.146 | 32.1984 | -81.1777 | 2027-06-01 | high | official | 5 | OVL_16 | OVL_18 | OVL_23 | OVL_37 | OVL_41
GPC | 20787 | SAV: LITTLE OGEECHEE 230/115KV BANK REPLACEMENT | substation | Little Ogeechee |  | 32.0068 | -81.2532 |  |  | 32.0068 | -81.2532 | 2034-06-01 | high | official | 2 | OVL_99 | OVL_103
GPC | 20793 | EVANS PRIMARY - THURMOND DAM (USA) #5 115KV REBUILD | line_rebuild | Evans Primary | Thurmond Dam | 33.544 | -82.1686 | 33.6601 | -82.1959 | 33.6021 | -82.1823 | 2033-06-01 | high | official | 8 | OVL_9 | OVL_12 | OVL_13 | OVL_20 | OVL_51 | OVL_56 | OVL_69 | OVL_100
GPC | 20794 | EVANS PRIMARY - THURMOND DAM (USA) #6 115KV REBUILD | line_rebuild | Evans Primary | Thurmond Dam | 33.544 | -82.1686 | 33.6601 | -82.1959 | 33.6021 | -82.1823 | 2033-06-01 | high | official | 8 | OVL_10 | OVL_11 | OVL_14 | OVL_21 | OVL_52 | OVL_55 | OVL_68 | OVL_101
GPC | 20796 | SAV: MELDRIM BANK D REPLACEMENT | substation | Meldrim |  | 32.1553 | -81.3684 |  |  | 32.1553 | -81.3684 | 2033-06-01 | high | official | 4 | OVL_79 | OVL_93 | OVL_104 | OVL_105
GPC | 21006 | SAV: BOULEVARD - MAGNOLIA 115 KV LINE REBUILD | line_rebuild | Boulevard | Magnolia | 32.0412 | -81.1445 | 32.0227 | -81.0862 | 32.032 | -81.1153 | 2029-06-01 | high | official | 5 | OVL_34 | OVL_72 | OVL_73 | OVL_76 | OVL_78
GPC | 21023 | SAV: DEAN FOREST - LITTLE OGEECHEE 230 KV REBUILD | line_rebuild | Dean Forest | Little Ogeechee | 32.0835 | -81.1887 | 32.0068 | -81.2532 | 32.0451 | -81.2209 | 2029-06-01 | high | official | 5 | OVL_38 | OVL_86 | OVL_91 | OVL_92 | OVL_97
GPC | 21116 | GOSHEN AREA STRATEGIC SOLUTION | area_package | Goshen |  | 33.3198 | -81.9953 |  |  | 33.3198 | -81.9953 | 2030-06-01 | low | official | 5 | OVL_26 | OVL_31 | OVL_58 | OVL_84 | OVL_85

## overlaps
overlap_label | utility_a | project_id_a | name_a | utility_b | project_id_b | name_b | center_distance_mi | closest_distance_mi | proximity_tier | in_service_gap_days | build_windows_overlap | location_confidence | override_involved | score | shared_row_acres
OVL_1 | DESC | 06367 D - G | Jasper – Okatie 230 kV #2: Construct | GPC | 20277 | SAV: MCINTOSH - PURRYSBURG 230KV REACTORS | 3.75 | 0 | touching/crossing | 152 | TRUE | low | FALSE | 0.8533 | 5.6
OVL_2 | DESC | 6810 O | Urquhart – Aiken PSA 46 kV: Rebuild | GPC | 16007 | FENWICK STREET - SAND BAR FERRY 115KV (RECONDUCTOR/REBUILD) | 2.25 | 1.44 | under 5 mi | 578 | FALSE | low | FALSE | 0.7788
OVL_3 | DESC | 6852 | Urquhart – Toolebeck 115kV line: Rebuild | GPC | 16007 | FENWICK STREET - SAND BAR FERRY 115KV (RECONDUCTOR/REBUILD) | 9.52 | 1.62 | under 5 mi | 72 | TRUE | low | FALSE | 0.7136
OVL_4 | DESC | 06367 A - C, H | Riverport Tap: Construct Tap | GPC | 20277 | SAV: MCINTOSH - PURRYSBURG 230KV REACTORS | 9.1 | 5.44 | under 25 mi | 152 | TRUE | low | FALSE | 0.7035
OVL_5 | DESC | 6888 | Okatie – McIntosh 115kV Tie: Add Series Reactor | GPC | 20277 | SAV: MCINTOSH - PURRYSBURG 230KV REACTORS | 2.72 | 0 | touching/crossing | 944 | FALSE | low | FALSE | 0.6652 | 4.3
OVL_6 | DESC | 6888 | Okatie – McIntosh 115kV Tie: Add Series Reactor | GPC | 20065 | SAV: GOSHEN (SAV) - MCINTOSH 115KV LINE REBUILD | 7.1 | 0 | touching/crossing | 579 | FALSE | low | FALSE | 0.6425 | 1.1
OVL_7 | DESC | 06367 D - G | Jasper – Okatie 230 kV #2: Construct | GPC | 20065 | SAV: GOSHEN (SAV) - MCINTOSH 115KV LINE REBUILD | 8.6 | 2.99 | under 5 mi | 517 | TRUE | low | FALSE | 0.6177
OVL_8 | DESC | 0139 M,N | Okatie 230-115kV Substation, Jasper – Yemassee 230kV #1 Fold-in | GPC | 20277 | SAV: MCINTOSH - PURRYSBURG 230KV REACTORS | 9.1 | 5.44 | under 25 mi | 517 | TRUE | low | FALSE | 0.6035
OVL_9 | DESC | 6810 A | Hooks - Thurmond 115kV Tie: Rebuild | GPC | 20793 | EVANS PRIMARY - THURMOND DAM (USA) #5 115KV REBUILD | 3.91 | 0 | touching/crossing | 3074 | FALSE | medium | FALSE | 0.5906 | 1.2
OVL_10 | DESC | 6810 A | Hooks - Thurmond 115kV Tie: Rebuild | GPC | 20794 | EVANS PRIMARY - THURMOND DAM (USA) #6 115KV REBUILD | 3.91 | 0 | touching/crossing | 3074 | FALSE | medium | FALSE | 0.5906 | 1.2
OVL_11 | DESC | 6809 G | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV | GPC | 20794 | EVANS PRIMARY - THURMOND DAM (USA) #6 115KV REBUILD | 4.45 | 2.01 | under 5 mi | 2709 | FALSE | low | FALSE | 0.5753
OVL_12 | DESC | 6809 G | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV | GPC | 20793 | EVANS PRIMARY - THURMOND DAM (USA) #5 115KV REBUILD | 4.45 | 2.01 | under 5 mi | 2709 | FALSE | low | FALSE | 0.5753
OVL_13 | DESC | 6809 E | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV Rebuilds | GPC | 20793 | EVANS PRIMARY - THURMOND DAM (USA) #5 115KV REBUILD | 4.45 | 2.01 | under 5 mi | 3074 | FALSE | low | FALSE | 0.5753
OVL_14 | DESC | 6809 E | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV Rebuilds | GPC | 20794 | EVANS PRIMARY - THURMOND DAM (USA) #6 115KV REBUILD | 4.45 | 2.01 | under 5 mi | 3074 | FALSE | low | FALSE | 0.5753
OVL_15 | DESC | 6809 G | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV | GPC | 16007 | FENWICK STREET - SAND BAR FERRY 115KV (RECONDUCTOR/REBUILD) | 14.13 | 8.63 | under 25 mi | 152 | TRUE | low | FALSE | 0.5629
OVL_16 | DESC | 6888 | Okatie – McIntosh 115kV Tie: Add Series Reactor | GPC | 20785 | SAV: GOSHEN (SAV) - KRAFT 115KV LINE REBUILD | 10.15 | 7.36 | under 25 mi | 579 | FALSE | low | FALSE | 0.5573
OVL_17 | DESC | 6808 S | Okatie-Bluffton 115kV: Rebuild | GPC | 20277 | SAV: MCINTOSH - PURRYSBURG 230KV REACTORS | 12.76 | 5.44 | under 25 mi | 365 | TRUE | low | FALSE | 0.5428
OVL_18 | DESC | 06367 D - G | Jasper – Okatie 230 kV #2: Construct | GPC | 20785 | SAV: GOSHEN (SAV) - KRAFT 115KV LINE REBUILD | 11.28 | 9.1 | under 25 mi | 517 | TRUE | low | FALSE | 0.5424
OVL_19 | DESC | 6808 S | Okatie-Bluffton 115kV: Rebuild | GPC | 20067 | SAV: DEPTFORD - MAGNOLIA 115KV RECONDUCTOR | 17.24 | 15.21 | under 25 mi | 0 | TRUE | low | FALSE | 0.5173
OVL_20 | DESC | 6809 G (Hooks Modoc) | Hooks - Modoc 115/46 kV Rebuild | GPC | 20793 | EVANS PRIMARY - THURMOND DAM (USA) #5 115KV REBUILD | 6.53 | 1.83 | under 5 mi | 1979 | FALSE | medium | FALSE | 0.5172
OVL_21 | DESC | 6809 G (Hooks Modoc) | Hooks - Modoc 115/46 kV Rebuild | GPC | 20794 | EVANS PRIMARY - THURMOND DAM (USA) #6 115KV REBUILD | 6.53 | 1.83 | under 5 mi | 1979 | FALSE | medium | FALSE | 0.5172
OVL_22 | DESC | 06367 A - C, H | Riverport Tap: Construct Tap | GPC | 20065 | SAV: GOSHEN (SAV) - MCINTOSH 115KV LINE REBUILD | 13.16 | 13 | under 25 mi | 517 | TRUE | low | FALSE | 0.4899
OVL_23 | DESC | 06367 A - C, H | Riverport Tap: Construct Tap | GPC | 20785 | SAV: GOSHEN (SAV) - KRAFT 115KV LINE REBUILD | 13.39 | 13.35 | under 25 mi | 517 | TRUE | low | FALSE | 0.4835
OVL_24 | DESC | 0139 M,N | Okatie 230-115kV Substation, Jasper – Yemassee 230kV #1 Fold-in | GPC | 20067 | SAV: DEPTFORD - MAGNOLIA 115KV RECONDUCTOR | 17.09 | 15.29 | under 25 mi | 152 | TRUE | low | FALSE | 0.4799
OVL_25 | DESC | 06367 A - C, H | Riverport Tap: Construct Tap | GPC | 20066 | SAV: BOULEVARD - DEPTFORD 115KV RECONDUCTOR | 17.16 | 15.29 | under 25 mi | 152 | TRUE | low | FALSE | 0.478
OVL_26 | DESC | 6810 O | Urquhart – Aiken PSA 46 kV: Rebuild | GPC | 21116 | GOSHEN AREA STRATEGIC SOLUTION | 10.43 | 9.29 | under 25 mi | 883 | TRUE | low | TRUE | 0.466
OVL_27 | DESC | 06367 A - C, H | Riverport Tap: Construct Tap | GPC | 20067 | SAV: DEPTFORD - MAGNOLIA 115KV RECONDUCTOR | 17.09 | 15.29 | under 25 mi | 213 | TRUE | low | FALSE | 0.4632
OVL_28 | DESC | 6809 E | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV Rebuilds | GPC | 16007 | FENWICK STREET - SAND BAR FERRY 115KV (RECONDUCTOR/REBUILD) | 14.13 | 8.63 | under 25 mi | 517 | TRUE | low | FALSE | 0.4629
OVL_29 | DESC | 6888 | Okatie – McIntosh 115kV Tie: Add Series Reactor | GPC | 20783 | SAV: COLEMAN - DEAN FOREST 115KV LINE REBUILD | 17.11 | 16.72 | under 25 mi | 213 | TRUE | low | FALSE | 0.4627
OVL_30 | DESC | 6809 T | Stevens Creek - Graniteville 115 kV: Rebuild | GPC | 16007 | FENWICK STREET - SAND BAR FERRY 115KV (RECONDUCTOR/REBUILD) | 8.48 | 7.51 | under 25 mi | 1309 | FALSE | low | FALSE | 0.4625
OVL_31 | DESC | 6809 T | Stevens Creek - Graniteville 115 kV: Rebuild | GPC | 21116 | GOSHEN AREA STRATEGIC SOLUTION | 17.92 | 17.02 | under 25 mi | 152 | TRUE | low | TRUE | 0.4565
OVL_32 | DESC | 06367 D - G | Jasper – Okatie 230 kV #2: Construct | GPC | 20066 | SAV: BOULEVARD - DEPTFORD 115KV RECONDUCTOR | 18.49 | 15.29 | under 25 mi | 152 | TRUE | low | FALSE | 0.4406
OVL_33 | DESC | 06367 D - G | Jasper – Okatie 230 kV #2: Construct | GPC | 20067 | SAV: DEPTFORD - MAGNOLIA 115KV RECONDUCTOR | 18.94 | 15.29 | under 25 mi | 213 | TRUE | low | FALSE | 0.4113
OVL_34 | DESC | 6888 | Okatie – McIntosh 115kV Tie: Add Series Reactor | GPC | 21006 | SAV: BOULEVARD - MAGNOLIA 115 KV LINE REBUILD | 19.71 | 18.9 | under 25 mi | 152 | TRUE | low | FALSE | 0.4065
OVL_35 | DESC | 6808 S | Okatie-Bluffton 115kV: Rebuild | GPC | 20066 | SAV: BOULEVARD - DEPTFORD 115KV RECONDUCTOR | 17.69 | 15.21 | under 25 mi | 365 | TRUE | low | FALSE | 0.4047
OVL_36 | DESC | 0139 M,N | Okatie 230-115kV Substation, Jasper – Yemassee 230kV #1 Fold-in | GPC | 20065 | SAV: GOSHEN (SAV) - MCINTOSH 115KV LINE REBUILD | 13.16 | 13 | under 25 mi | 882 | TRUE | low | FALSE | 0.3899
OVL_37 | DESC | 0139 M,N | Okatie 230-115kV Substation, Jasper – Yemassee 230kV #1 Fold-in | GPC | 20785 | SAV: GOSHEN (SAV) - KRAFT 115KV LINE REBUILD | 13.39 | 13.35 | under 25 mi | 882 | TRUE | low | FALSE | 0.3835
OVL_38 | DESC | 6888 | Okatie – McIntosh 115kV Tie: Add Series Reactor | GPC | 21023 | SAV: DEAN FOREST - LITTLE OGEECHEE 230 KV REBUILD | 20.57 | 17.39 | under 25 mi | 152 | TRUE | low | FALSE | 0.3824
OVL_39 | DESC | 0139 M,N | Okatie 230-115kV Substation, Jasper – Yemassee 230kV #1 Fold-in | GPC | 20066 | SAV: BOULEVARD - DEPTFORD 115KV RECONDUCTOR | 17.16 | 15.29 | under 25 mi | 517 | TRUE | low | FALSE | 0.378
OVL_40 | DESC | 6888 | Okatie – McIntosh 115kV Tie: Add Series Reactor | GPC | 20407 | SAV: MAGNOLIA - TRUMAN PARKWAY 115KV REBUILD | 20.2 | 18.9 | under 25 mi | 213 | TRUE | low | FALSE | 0.376
OVL_41 | DESC | 6808 S | Okatie-Bluffton 115kV: Rebuild | GPC | 20785 | SAV: GOSHEN (SAV) - KRAFT 115KV LINE REBUILD | 16.09 | 13.35 | under 25 mi | 730 | TRUE | low | FALSE | 0.3494
OVL_42 | DESC | 6810 A | Hooks - Thurmond 115kV Tie: Rebuild | GPC | 17993 | EVANS PRIMARY - THOMSON PRIMARY 115KV REBUILD | 12.82 | 7.81 | under 25 mi | 3652 | FALSE | medium | FALSE | 0.3411
OVL_43 | DESC | 6808 S | Okatie-Bluffton 115kV: Rebuild | GPC | 20065 | SAV: GOSHEN (SAV) - MCINTOSH 115KV LINE REBUILD | 16.71 | 13 | under 25 mi | 730 | TRUE | low | FALSE | 0.3321
OVL_44 | DESC | 6809 G | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV | GPC | 17993 | EVANS PRIMARY - THOMSON PRIMARY 115KV REBUILD | 13.16 | 5.77 | under 25 mi | 3287 | FALSE | low | FALSE | 0.3314
OVL_45 | DESC | 6809 E | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV Rebuilds | GPC | 17993 | EVANS PRIMARY - THOMSON PRIMARY 115KV REBUILD | 13.16 | 5.77 | under 25 mi | 3652 | FALSE | low | FALSE | 0.3314
OVL_46 | DESC | 6810 A | Hooks - Thurmond 115kV Tie: Rebuild | GPC | 16007 | FENWICK STREET - SAND BAR FERRY 115KV (RECONDUCTOR/REBUILD) | 19.4 | 17.58 | under 25 mi | 517 | TRUE | low | FALSE | 0.3152
OVL_47 | DESC | 06367 D - G | Jasper – Okatie 230 kV #2: Construct | GPC | 17075 | SAV: LITTLE OGEECHEE 230- 115KV: RELAY MODERNIZATION | 24.68 | 24.66 | under 25 mi | 0 | TRUE | low | FALSE | 0.3088
OVL_48 | DESC | 6808 L | Burton-St Helena 115kV: Frogmore Distribution - St Helena | GPC | 20277 | SAV: MCINTOSH - PURRYSBURG 230KV REACTORS | 23.2 | 19.4 | under 25 mi | 152 | TRUE | low | FALSE | 0.3087
OVL_49 | DESC | 0139 M,N | Okatie 230-115kV Substation, Jasper – Yemassee 230kV #1 Fold-in | GPC | 19523 | SAV: CC - HYUNDAI MOTORS SAVANNAH AKA. PROJECT EA | 24.85 | 24.85 | under 25 mi | 1 | TRUE | low | TRUE | 0.304
OVL_50 | DESC | 06367 D - G | Jasper – Okatie 230 kV #2: Construct | GPC | 19523 | SAV: CC - HYUNDAI MOTORS SAVANNAH AKA. PROJECT EA | 21.92 | 20.03 | under 25 mi | 364 | TRUE | low | TRUE | 0.2865
OVL_51 | DESC | 6809 T | Stevens Creek - Graniteville 115 kV: Rebuild | GPC | 20793 | EVANS PRIMARY - THURMOND DAM (USA) #5 115KV REBUILD | 14.78 | 6.87 | under 25 mi | 1248 | TRUE | high | FALSE | 0.2862
OVL_52 | DESC | 6809 T | Stevens Creek - Graniteville 115 kV: Rebuild | GPC | 20794 | EVANS PRIMARY - THURMOND DAM (USA) #6 115KV REBUILD | 14.78 | 6.87 | under 25 mi | 1248 | FALSE | high | FALSE | 0.2862
OVL_53 | DESC | 6809 G (Hooks Modoc) | Hooks - Modoc 115/46 kV Rebuild | GPC | 17993 | EVANS PRIMARY - THOMSON PRIMARY 115KV REBUILD | 15.07 | 7.81 | under 25 mi | 2557 | FALSE | medium | FALSE | 0.278
OVL_54 | DESC | 06367 D - G | Jasper – Okatie 230 kV #2: Construct | GPC | 19966 | SAV: CC - BIG OGEECHEE 500/230KV (CC NETWORK IMPROVEMENTS) | 24.68 | 24.66 | under 25 mi | 152 | TRUE | low | TRUE | 0.2672
OVL_55 | DESC | 6809 M (Modoc Mccormick) | Modoc – McCormick 115/46 kV Rebuild | GPC | 20794 | EVANS PRIMARY - THURMOND DAM (USA) #6 115KV REBUILD | 15.61 | 5.27 | under 25 mi | 1248 | FALSE | high | FALSE | 0.263
OVL_56 | DESC | 6809 M (Modoc Mccormick) | Modoc – McCormick 115/46 kV Rebuild | GPC | 20793 | EVANS PRIMARY - THURMOND DAM (USA) #5 115KV REBUILD | 15.61 | 5.27 | under 25 mi | 1248 | TRUE | high | FALSE | 0.263
OVL_57 | DESC | 06367 D - G | Jasper – Okatie 230 kV #2: Construct | GPC | 20783 | SAV: COLEMAN - DEAN FOREST 115KV LINE REBUILD | 18.04 | 17.92 | under 25 mi | 883 | TRUE | low | FALSE | 0.2528
OVL_58 | DESC | 6852 | Urquhart – Toolebeck 115kV line: Rebuild | GPC | 21116 | GOSHEN AREA STRATEGIC SOLUTION | 16.43 | 9.29 | under 25 mi | 1389 | TRUE | low | TRUE | 0.2399
OVL_59 | DESC | 6809 G (Hooks Modoc) | Hooks - Modoc 115/46 kV Rebuild | GPC | 16007 | FENWICK STREET - SAND BAR FERRY 115KV (RECONDUCTOR/REBUILD) | 21.51 | 17.58 | under 25 mi | 578 | FALSE | low | FALSE | 0.2394
OVL_60 | DESC | 6888 | Okatie – McIntosh 115kV Tie: Add Series Reactor | GPC | 20066 | SAV: BOULEVARD - DEPTFORD 115KV RECONDUCTOR | 18.08 | 15.29 | under 25 mi | 944 | FALSE | low | FALSE | 0.2352
OVL_61 | DESC | 06367 A - C, H | Riverport Tap: Construct Tap | GPC | 20783 | SAV: COLEMAN - DEAN FOREST 115KV LINE REBUILD | 18.8 | 18.58 | under 25 mi | 883 | TRUE | low | FALSE | 0.2316
OVL_62 | DESC | 06367 A - C, H | Riverport Tap: Construct Tap | GPC | 20407 | SAV: MAGNOLIA - TRUMAN PARKWAY 115KV REBUILD | 18.9 | 18.9 | under 25 mi | 883 | TRUE | low | FALSE | 0.2288
OVL_63 | DESC | 6808 K | Burton-St Helena 115kV: Rebuild Burton-Frogmore Transmission Section | GPC | 20277 | SAV: MCINTOSH - PURRYSBURG 230KV REACTORS | 23.2 | 19.4 | under 25 mi | 517 | TRUE | low | FALSE | 0.2087
OVL_64 | DESC | 06367 A - C, H | Riverport Tap: Construct Tap | GPC | 19523 | SAV: CC - HYUNDAI MOTORS SAVANNAH AKA. PROJECT EA | 24.85 | 24.85 | under 25 mi | 364 | TRUE | low | TRUE | 0.2046
OVL_65 | DESC | 6888 | Okatie – McIntosh 115kV Tie: Add Series Reactor | GPC | 20784 | SAV: COLEMAN - MELDRIM 115KV LINE REBUILD | 18.29 | 16.72 | under 25 mi | 1248 | FALSE | low | FALSE | 0.1878
OVL_66 | DESC | 06367 D - G | Jasper – Okatie 230 kV #2: Construct | GPC | 20407 | SAV: MAGNOLIA - TRUMAN PARKWAY 115KV REBUILD | 20.56 | 18.9 | under 25 mi | 883 | TRUE | low | FALSE | 0.1825
OVL_67 | DESC | 6888 | Okatie – McIntosh 115kV Tie: Add Series Reactor | GPC | 20067 | SAV: DEPTFORD - MAGNOLIA 115KV RECONDUCTOR | 18.66 | 15.29 | under 25 mi | 1309 | FALSE | low | FALSE | 0.1774
OVL_68 | DESC | 6810 O | Urquhart – Aiken PSA 46 kV: Rebuild | GPC | 20794 | EVANS PRIMARY - THURMOND DAM (USA) #6 115KV REBUILD | 18.7 | 15.53 | under 25 mi | 1979 | FALSE | medium | FALSE | 0.1763
OVL_69 | DESC | 6810 O | Urquhart – Aiken PSA 46 kV: Rebuild | GPC | 20793 | EVANS PRIMARY - THURMOND DAM (USA) #5 115KV REBUILD | 18.7 | 15.53 | under 25 mi | 1979 | FALSE | medium | FALSE | 0.1763
OVL_70 | DESC | 0139 M,N | Okatie 230-115kV Substation, Jasper – Yemassee 230kV #1 Fold-in | GPC | 20783 | SAV: COLEMAN - DEAN FOREST 115KV LINE REBUILD | 18.8 | 18.58 | under 25 mi | 1248 | TRUE | low | FALSE | 0.1735
OVL_71 | DESC | 0139 M,N | Okatie 230-115kV Substation, Jasper – Yemassee 230kV #1 Fold-in | GPC | 20407 | SAV: MAGNOLIA - TRUMAN PARKWAY 115KV REBUILD | 18.9 | 18.9 | under 25 mi | 1248 | TRUE | low | FALSE | 0.1707
OVL_72 | DESC | 0139 M,N | Okatie 230-115kV Substation, Jasper – Yemassee 230kV #1 Fold-in | GPC | 21006 | SAV: BOULEVARD - MAGNOLIA 115 KV LINE REBUILD | 19.01 | 18.9 | under 25 mi | 1613 | FALSE | low | FALSE | 0.1676
OVL_73 | DESC | 06367 A - C, H | Riverport Tap: Construct Tap | GPC | 21006 | SAV: BOULEVARD - MAGNOLIA 115 KV LINE REBUILD | 19.01 | 18.9 | under 25 mi | 1248 | FALSE | low | FALSE | 0.1676
OVL_74 | DESC | 6808 S | Okatie-Bluffton 115kV: Rebuild | GPC | 20407 | SAV: MAGNOLIA - TRUMAN PARKWAY 115KV REBUILD | 19.12 | 18.89 | under 25 mi | 1096 | TRUE | low | FALSE | 0.1647
OVL_75 | DESC | 06367 D - G | Jasper – Okatie 230 kV #2: Construct | GPC | 20784 | SAV: COLEMAN - MELDRIM 115KV LINE REBUILD | 19.54 | 17.92 | under 25 mi | 2344 | FALSE | low | FALSE | 0.1528
OVL_76 | DESC | 6808 S | Okatie-Bluffton 115kV: Rebuild | GPC | 21006 | SAV: BOULEVARD - MAGNOLIA 115 KV LINE REBUILD | 19.57 | 18.89 | under 25 mi | 1461 | FALSE | low | FALSE | 0.152
OVL_77 | DESC | 6810 A | Hooks - Thurmond 115kV Tie: Rebuild | GPC | 14222 | THOMSON PRIMARY 230/115KV SECOND TRANSFORMER | 19.62 | 19 | under 25 mi | 3074 | FALSE | medium | FALSE | 0.1505
OVL_78 | DESC | 06367 D - G | Jasper – Okatie 230 kV #2: Construct | GPC | 21006 | SAV: BOULEVARD - MAGNOLIA 115 KV LINE REBUILD | 20.19 | 18.9 | under 25 mi | 1248 | FALSE | low | FALSE | 0.1347
OVL_79 | DESC | 6888 | Okatie – McIntosh 115kV Tie: Add Series Reactor | GPC | 20796 | SAV: MELDRIM BANK D REPLACEMENT | 20.54 | 17.68 | under 25 mi | 1613 | FALSE | low | FALSE | 0.1249
OVL_80 | DESC | 6888 | Okatie – McIntosh 115kV Tie: Add Series Reactor | GPC | 19523 | SAV: CC - HYUNDAI MOTORS SAVANNAH AKA. PROJECT EA | 20.54 | 17.68 | under 25 mi | 1460 | FALSE | low | TRUE | 0.1249
OVL_81 | DESC | 6808 S | Okatie-Bluffton 115kV: Rebuild | GPC | 20783 | SAV: COLEMAN - DEAN FOREST 115KV LINE REBUILD | 20.6 | 18.58 | under 25 mi | 1096 | TRUE | low | FALSE | 0.1231
OVL_82 | DESC | 6809 G | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV | GPC | 14222 | THOMSON PRIMARY 230/115KV SECOND TRANSFORMER | 20.79 | 20.29 | under 25 mi | 2709 | TRUE | low | FALSE | 0.1179
OVL_83 | DESC | 6809 E | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV Rebuilds | GPC | 14222 | THOMSON PRIMARY 230/115KV SECOND TRANSFORMER | 20.79 | 20.29 | under 25 mi | 3074 | FALSE | low | FALSE | 0.1179
OVL_84 | DESC | 6809 G | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV | GPC | 21116 | GOSHEN AREA STRATEGIC SOLUTION | 21.01 | 17.09 | under 25 mi | 1613 | TRUE | low | TRUE | 0.1116
OVL_85 | DESC | 6809 E | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV Rebuilds | GPC | 21116 | GOSHEN AREA STRATEGIC SOLUTION | 21.01 | 17.09 | under 25 mi | 1978 | FALSE | low | TRUE | 0.1116
OVL_86 | DESC | 06367 D - G | Jasper – Okatie 230 kV #2: Construct | GPC | 21023 | SAV: DEAN FOREST - LITTLE OGEECHEE 230 KV REBUILD | 21.45 | 18.17 | under 25 mi | 1248 | FALSE | low | FALSE | 0.0993
OVL_87 | DESC | 6809 G (Hooks Modoc) | Hooks - Modoc 115/46 kV Rebuild | GPC | 14222 | THOMSON PRIMARY 230/115KV SECOND TRANSFORMER | 21.49 | 20.29 | under 25 mi | 1979 | TRUE | medium | FALSE | 0.0982
OVL_88 | DESC | 6809 T | Stevens Creek - Graniteville 115 kV: Rebuild | GPC | 17993 | EVANS PRIMARY - THOMSON PRIMARY 115KV REBUILD | 21.55 | 6.87 | under 25 mi | 1826 | FALSE | medium | FALSE | 0.0966
OVL_89 | DESC | 0139 M,N | Okatie 230-115kV Substation, Jasper – Yemassee 230kV #1 Fold-in | GPC | 20784 | SAV: COLEMAN - MELDRIM 115KV LINE REBUILD | 21.72 | 19.12 | under 25 mi | 2709 | FALSE | low | FALSE | 0.0918
OVL_90 | DESC | 06367 A - C, H | Riverport Tap: Construct Tap | GPC | 20784 | SAV: COLEMAN - MELDRIM 115KV LINE REBUILD | 21.72 | 19.12 | under 25 mi | 2344 | FALSE | low | FALSE | 0.0918
OVL_91 | DESC | 0139 M,N | Okatie 230-115kV Substation, Jasper – Yemassee 230kV #1 Fold-in | GPC | 21023 | SAV: DEAN FOREST - LITTLE OGEECHEE 230 KV REBUILD | 21.81 | 18.58 | under 25 mi | 1613 | FALSE | low | FALSE | 0.0894
OVL_92 | DESC | 06367 A - C, H | Riverport Tap: Construct Tap | GPC | 21023 | SAV: DEAN FOREST - LITTLE OGEECHEE 230 KV REBUILD | 21.81 | 18.58 | under 25 mi | 1248 | FALSE | low | FALSE | 0.0894
OVL_93 | DESC | 06367 D - G | Jasper – Okatie 230 kV #2: Construct | GPC | 20796 | SAV: MELDRIM BANK D REPLACEMENT | 21.92 | 20.03 | under 25 mi | 2709 | FALSE | low | FALSE | 0.0862
OVL_94 | DESC | 6810 O | Urquhart – Aiken PSA 46 kV: Rebuild | GPC | 17993 | EVANS PRIMARY - THOMSON PRIMARY 115KV REBUILD | 22.15 | 15.53 | under 25 mi | 2557 | FALSE | medium | FALSE | 0.0797
OVL_95 | DESC | 6888 | Okatie – McIntosh 115kV Tie: Add Series Reactor | GPC | 19966 | SAV: CC - BIG OGEECHEE 500/230KV (CC NETWORK IMPROVEMENTS) | 23.78 | 23.74 | under 25 mi | 944 | FALSE | low | TRUE | 0.0756
OVL_96 | DESC | 6809 M (Modoc Mccormick) | Modoc – McCormick 115/46 kV Rebuild | GPC | 17993 | EVANS PRIMARY - THOMSON PRIMARY 115KV REBUILD | 22.42 | 13.42 | under 25 mi | 1826 | FALSE | medium | FALSE | 0.0721
OVL_97 | DESC | 6808 S | Okatie-Bluffton 115kV: Rebuild | GPC | 21023 | SAV: DEAN FOREST - LITTLE OGEECHEE 230 KV REBUILD | 23.27 | 18.58 | under 25 mi | 1461 | FALSE | low | FALSE | 0.0484
OVL_98 | DESC | 6888 | Okatie – McIntosh 115kV Tie: Add Series Reactor | GPC | 17075 | SAV: LITTLE OGEECHEE 230- 115KV: RELAY MODERNIZATION | 23.78 | 23.74 | under 25 mi | 1096 | FALSE | low | FALSE | 0.0342
OVL_99 | DESC | 6888 | Okatie – McIntosh 115kV Tie: Add Series Reactor | GPC | 20787 | SAV: LITTLE OGEECHEE 230/115KV BANK REPLACEMENT | 23.78 | 23.74 | under 25 mi | 1978 | FALSE | low | FALSE | 0.0342
OVL_100 | DESC | 6852 | Urquhart – Toolebeck 115kV line: Rebuild | GPC | 20793 | EVANS PRIMARY - THURMOND DAM (USA) #5 115KV REBUILD | 24.06 | 16.79 | under 25 mi | 2485 | FALSE | high | FALSE | 0.0264
OVL_101 | DESC | 6852 | Urquhart – Toolebeck 115kV line: Rebuild | GPC | 20794 | EVANS PRIMARY - THURMOND DAM (USA) #6 115KV REBUILD | 24.06 | 16.79 | under 25 mi | 2485 | FALSE | high | FALSE | 0.0264
OVL_102 | DESC | 6808 S | Okatie-Bluffton 115kV: Rebuild | GPC | 20784 | SAV: COLEMAN - MELDRIM 115KV LINE REBUILD | 24.19 | 19.12 | under 25 mi | 2557 | FALSE | low | FALSE | 0.0225
OVL_103 | DESC | 06367 D - G | Jasper – Okatie 230 kV #2: Construct | GPC | 20787 | SAV: LITTLE OGEECHEE 230/115KV BANK REPLACEMENT | 24.68 | 24.66 | under 25 mi | 3074 | FALSE | low | FALSE | 0.0088
OVL_104 | DESC | 06367 A - C, H | Riverport Tap: Construct Tap | GPC | 20796 | SAV: MELDRIM BANK D REPLACEMENT | 24.85 | 24.85 | under 25 mi | 2709 | FALSE | low | FALSE | 0.0043
OVL_105 | DESC | 0139 M,N | Okatie 230-115kV Substation, Jasper – Yemassee 230kV #1 Fold-in | GPC | 20796 | SAV: MELDRIM BANK D REPLACEMENT | 24.85 | 24.85 | under 25 mi | 3074 | FALSE | low | FALSE | 0.0043